Describe the dairy facility’s flow metering system pursuant to Subsections J, K, L, M, N and O of 20.6.6.20 NMAC and Subsections G and H of 20.6.6.21 NMAC.

*Note:  A flow meter(s) shall not be installed on the facility’s water supply line(s) to estimate wastewater volumes discharged to the impoundment if, as of the effective date of the Dairy Rule, -

- the facility has not been constructed or has not discharged.

- the facility uses a flow meter(s) installed on the discharge line(s) to measure wastewater discharged to an impoundment(s).

| Meter ID | Proposed or Existing? | Location Description | Source of Flow | Measures | Flow Type | Meter Type | Supporting Documents Attached |
| --- | --- | --- | --- | --- | --- | --- | --- |

# Footnotes

Meter ID means the numbering or labeling system used to individually identify each meter (e.g., Meter-1, Parlor Meter, Land App. Meter-1, etc.).

Source of flow describes where the flow is coming from (e.g., parlor barn; hospital barn; maternity ward; impoundment to LAA; fresh water supply line)

Note:  Only select “stormwater” when it is directly applied to the land application area; stormwater once transferred to a wastewater impoundment is considered wastewater.

Flow type - gravity flow or pressurized (pumped) flow

Meter type - open channel such as a weir or flume, or a closed-pipe velocity meter such as an electromagnetic meter